## COVER
ACE PROJECT - REEE MEASURES
Ammatour Solar Water Pumping System Gharifeh Solar Water Pumping & Hybrid Solar Systems Green Hand Hybrid Solar System (Lot 1)
Bill Of Quantities
Client:

## Ammatour Solar Pumping BOQ
ACE Project - Lot 1 REEE Measures Ammatour Solar Pumping System - General BoQ
ITEM | DESCRIPTION | Quantity | UNIT | Unit Price ($) | Total Price ($)
1 | Supply and Installation: Solar pumping system and inverter room as per Annex 3, Annex 6, and contractor design drawings. | 1 | Item
2 | AC Connection: Solar pumping system to be connected to water pumping station as per Annex 3, Annex 6, and contractor design. | 1 | Item
3 | General Items: Material submittals, weather station, lightning proctection system, earthing system, safety equipment, remote monitoring, labeling, safety signage, as-built drawings, T&C, O&M manual, training of operators, and one year O&M as per Annex 3 and Annex 6. | 1 | Item
Total

## Gharifeh Solar Pumping BOQ
ACE Project - Lot 1 REEE Measures Gharifeh Solar Pumping System - General BoQ
ITEM | DESCRIPTION | Quantity | UNIT | Unit Price ($) | Total Price ($)
1 | Supply and Installation: Solar pumping system and inverter room as per Annex 3, Annex 6, and contractor design drawings. | 1 | Item
2 | DC Connection: All PV cables shall be connected to the PV combiner box of the solar pumping system through trenching as per Annex 3, Annex 6, and contractor design. | 1 | Item
3 | General Items: Material submittals, weather station, lightning proctection system, earthing system, safety equipment, remote monitoring, labeling, safety signage, as-built drawings, T&C, O&M manual, training of operators, and one year O&M as per Annex 3 and Annex 6. | 1 | Item
Total

## Gharifeh Hybrid Solar PV
ACE Project - Lot 1 REEE Measures Gharifeh Hybrid Solar System - General BoQ
ITEM | DESCRIPTION | Quantity | UNIT | Unit Price ($) | Total Price ($)
1 | Supply and Installation: Hybrid solar system and inverter room as per Annex 3, Annex 6, and contractor design drawings. | 1 | Item
2 | Supply and Replacement: Replacing existing lighting fixtures with LED lights, as per Annex 3, Annex 6. | 44 | Item
3 | General Items: Material submittals, earthing, safety equipment, remote monitoring, labeling, safety signage, as-built drawings, T&C, O&M manual, training of operators, and one year O&M as per Annex 3 and Annex 6. | 1 | Item
Total

## Green Hand Hybrid PV System BOQ
ACE Project - Lot 1 REEE Measures Green Hand Hybrid Solar System - General BoQ
ITEM | DESCRIPTION | Quantity | UNIT | Unit Price ($) | Total Price ($)
1 | Supply and Installation: hybrid solar system and a louvered door for inverter room as per Annex 3, Annex 6, and contractor design drawings. | 1 | Item
2 | General Items: Material submittals, weather station, earthing system, safety equipment, remote monitoring, labeling, safety signage, as-built drawings, T&C, O&M manual, training of operators, and one year O&M as per Annex 3 and Annex 6. | 1 | Item
Total