## COVER
ACE PROJECT - REEE MEASURES
Kfeir Solar Pumping System Miemes Solar Pumping System Hasbaya Solar PV System EKF GROWW Hybrid Solar System Batch 1 MSMEs (Lot 1)
Bill Of Quantities
Client:

## Kfeir Solar Pumping BOQ
ACE Project - Lot 1 REEE Measures Kfeir Solar Pumping System - General BoQ
ITEM | DESCRIPTION | Quantity | UNIT | Unit Price ($) | Total Price ($)
1 | Supply and Installation: Solar pumping system as per Annex 3, Annex 6, and contractor's design drawings. | 1 | Item
2 | General Items: Material submittals, lightning proctection system, earthing system, fencing, safety equipment, remote monitoring, labeling, safety signage, as-built drawings, T&C, O&M manual, training of operators, and one year O&M as per Annex 3 and Annex 6. | 1 | Item
Total

## Miemes Solar Pumping BOQ
ACE Project - Lot 1 REEE Measures Miemes Solar Pumping System - General BoQ
ITEM | DESCRIPTION | Quantity | UNIT | Unit Price ($) | Total Price ($)
1 | Supply and Installation: Solar pumping system as per Annex 3, Annex 6, and contractor's design drawings. | 1 | Item
2 | General Items: Material submittals, lightning proctection system, earthing system, fencing, safety equipment, remote monitoring, labeling, safety signage, as-built drawings, T&C, O&M manual, training of operators, and one year O&M as per Annex 3 and Annex 6. | 1 | Item
Total

## Hasbaya Hybrid PV System BOQ
ACE Project - Lot 1 REEE Measures Hasbaya Hybrid PV System - General BoQ
ITEM | DESCRIPTION | Quantity | UNIT | Unit Price ($) | Total Price ($)
1 | Supply and Installation: Hybrid solar system as per Annex 3, Annex 6, and contractor's design drawings. | 1 | Item
2 | Supply and Installation: Prefabricated room and insertion of 1 pole as per Annex 3, Annex 6, and contractor's design drawings. | 1 | Item
3 | AC Connection: Hybrid solar system to be connected to generator room as per Annex 3, Annex 6, and contractor's design drawings. (Write the Quantity in 'Meters') |  | Meters
4 | General Items: Material submittals, weather station, lightning protection system, earthing system, fencing, safety equipment, remote monitoring, labeling, safety signage, as-built drawings, T&C, O&M manual, training of operators, and one year O&M as per Annex 3 and Annex 6. | 1 | Item
Total

## EKF Hybrid PV System BOQ
ACE Project - Lot 1 REEE Measures EKF GROWW Facility Hybrid Solar System - General BoQ
ITEM | DESCRIPTION | Quantity | UNIT | Unit Price ($) | Total Price ($)
1 | Supply and Installation: Hybrid solar system as per Annex 3, Annex 6, and contractor design drawings. | 1 | Item
2 | General Items: Material submittals, earthing system, safety equipment, remote monitoring, labeling, safety signage, as-built drawings, T&C, O&M manual, training of operators, and one year O&M as per Annex 3 and Annex 6. | 1 | Item
Total

## Batch 1 MSMEs BOQ
ACE Project - Lot 1 REEE Measures MSME Systems - General BoQ
ITEM | DESCRIPTION | Quantity | UNIT | Unit Price ($) | Total Price ($)
Mount Hermon for Thyme – Al Kfeir
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). All installation works to be in line with ANNEXES 3 and 6 of this RFP.
1 | PV panels - compatible with the existing panels | 3 | pcs |  | 0
2 | Tubular batteries - compatible with the existing batteries | 2 | pcs |  | 0
3 | PV mounting structure for the new PV panels | 1 | Ls |  | 0
4 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
5 | Earthing system | 1 | Ls |  | 0
6 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
7 | Documentation, O&M manual & training | 1 | Ls |  | 0
8 | O&M services | 1 | Year |  | 0
| Subtotal – Mount Hermon for Thyme – Al Kfeir |  |  |  | 0
Al Raghad Bakery – Ain Kinia
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). All installation works to be in line with ANNEXES 3 and 6 of this RFP.
9 | PV panels - compatible with the existing panels | 3 | pcs |  | 0
10 | Tubular batteries - compatible with the existing batteries | 4 | pcs |  | 0
11 | PV mounting structure for the new PV panels | 1 | Ls |  | 0
12 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
13 | Earthing system | 1 | Ls |  | 0
14 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
15 | Documentation, O&M manual & training | 1 | Ls |  | 0
16 | O&M services | 1 | Year |  | 0
| Subtotal – Al Raghad Bakery – Ain Kinia |  |  |  | 0
Laiterie Fares – Kawkaba
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). All installation works to be in line with ANNEXES 3 and 6 of this RFP.
17 | PV panels - compatible with the existing panels | 4 | pcs |  | 0
19 | Hybrid inverter 8 kW, single phase | 1 | pcs |  | 0
20 | Lithium battery bank 15 kWh | 1 | pcs |  | 0
21 | New PV mounting structure for all 12 PV panels | 1 | Ls |  | 0
22 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
23 | Earthing system | 1 | Ls |  | 0
24 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
25 | Documentation, O&M manual & training | 1 | Ls |  | 0
26 | O&M services | 1 | Year |  | 0
| Subtotal – Laiterie Fares – Kawkaba |  |  |  | 0
Abu Ghaida Trading – Hasbaya (Olive Press)
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). All installation works to be in line with ANNEXES 3 and 6 of this RFP.
27 | PV panels 600 Wp | 50 | pcs |  | 0
28 | On-grid inverter(s) 30 kW, three-phase | 1 | pcs |  | 0
29 | PV mounting structure | 1 | Ls |  | 0
30 | All necessiry DC and AC cables, control system, protective devices, and accessories | 1 | Ls |  | 0
31 | Earthing system | 1 | Ls |  | 0
32 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
33 | Documentation, O&M manual, & training | 1 | Ls |  | 0
34 | O&M services | 1 | Year |  | 0
| Subtotal – Abu Ghaida Trading – Hasbaya (Olive Press) |  |  |  | 0
Farouj Al Kamal – Hasbaya (Poultry)
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). All installation works to be in line with ANNEXES 3 and 6 of this RFP.
35 | PV panels 600 Wp | 17 | pcs |  | 0
36 | Hybrid inverter 10 kW, single phase | 1 | pcs |  | 0
37 | Lithium battery bank 17.5 kWh | 1 | pcs |  | 0
38 | PV mounting structure | 1 | Ls |  | 0
39 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
40 | Earthing system | 1 | Ls |  | 0
41 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
42 | Documentation, O&M manual & training | 1 | Ls |  | 0
43 | O&M services | 1 | Year |  | 0
| Subtotal – Farouj Al Kamal – Hasbaya (Poultry) |  |  |  | 0
Manahel Al Hamra – Hasbaya (Beekeeping)
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). All installation works to be in line with ANNEXES 3 and 6 of this RFP.
44 | PV panels 600 Wp | 6 | pcs |  | 0
45 | Hybrid inverter 5 kW, single phase | 1 | pcs |  | 0
46 | Lithium battery 5 kWh | 1 | pcs |  | 0
47 | PV mounting structure | 1 | pcs |  | 0
48 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
49 | Earthing system | 1 | Ls |  | 0
50 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
51 | Documentation, O&M manual & training | 1 | Ls |  | 0
52 | O&M services | 1 | Year |  | 0
| Subtotal – Manahel Al Hamra – Hasbaya (Beekeeping) |  |  |  | 0
Al Jood Al Aseel – Hasbaya (Dairy)
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). All installation works to be in line with ANNEXES 3 and 6 of this RFP.
53 | PV panels 600 Wp | 20 | pcs |  | 0
54 | Hybrid inverter 12 kW, single phase | 1 | pcs |  | 0
55 | Lithium battery bank 30 kWh | 1 | pcs |  | 0
56 | PV mounting structure | 1 | Ls |  | 0
57 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
58 | Earthing system | 1 | Ls |  | 0
59 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
60 | Documentation, O&M manual & training | 1 | Ls |  | 0
61 | O&M services | 1 | Year |  | 0
| Subtotal – Al Jood Al Aseel – Hasbaya (Dairy) |  |  |  | 0
Doctors Farm – Al Mary (Solar Pumping)
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). All installation works to be in line with ANNEXES 3 and 6 of this RFP.
62 | PV panels 600 Wp | 50 | pcs |  | 0
63 | Solar pumping inverter 30 kW | 1 | pcs |  | 0
64 | AC connection between Solar Pumping Inverter and Connection Point | 1 | Ls |  | 0
65 | All necessiry DC cables, DC and AC protective devices, and accessories | 1 | Ls |  | 0
66 | Earthing system | 1 | Ls |  | 0
67 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
68 | Documentation, O&M manual & training | 1 | Ls |  | 0
69 | O&M services | 1 | Year |  | 0
| Subtotal – Doctors Farm – Al Mary (Solar Pumping) |  |  |  | 0
|  |  |  | Grand Total | 0