## COVER
ACE PROJECT - REEE MEASURES
Taraya Solar Pumping System Sawiri Solar Pumping System Kherbet Qanafar Solar Pumping System Batch 2 MSMEs (Lot 2)
Bill Of Quantities
Client:

## Taraya Pumping BOQ
ACE Project - Lot 2 REEE Measures Taraya Solar Pumping System - General BoQ
ITEM | DESCRIPTION | Quantity | UNIT | Unit Price ($) | Total Price ($)
1 | Supply and Installation: Solar pumping system as per Annex 3, Annex 6, and contractor's design drawings. | 1 | Item
2 | General Items: Material submittals, lightning proctection system, earthing system, fencing, safety equipment, remote monitoring, labeling, safety signage, as-built drawings, T&C, O&M manual, training of operators, and one year O&M as per Annex 3 and Annex 6. | 1 | Item
Total

## Sawiri Solar Pumping BOQ
ACE Project - Lot 2 REEE Measures Sawiri Solar Pumping System - General BoQ
ITEM | DESCRIPTION | Quantity | UNIT | Unit Price ($) | Total Price ($)
1 | Supply and Installation: Solar pumping system as per Annex 3, Annex 6, and contractor's design drawings. | 1 | Item
2 | AC Connection: Solar pumping system to be connected to electrical room as per Annex 3, Annex 6, and contractor's design drawings. (Write the Quantity in 'Meters') |  | Meters
3 | General Items: Material submittals, weather station, lightning proctection system, earthing system, fencing, safety equipment, remote monitoring, labeling, safety signage, as-built drawings, T&C, O&M manual, training of operators, and one year O&M as per Annex 3 and Annex 6. | 1 | Item
Total

## KherbetQanafar Solar System BOQ
ACE Project - Lot 2 REEE Measures Kherbet Qanafar Solar Pumping System - General BoQ
ITEM | DESCRIPTION | Quantity | UNIT | Unit Price ($) | Total Price ($)
1 | Supply and Installation: Solar pumping system as per Annex 3, Annex 6, and contractor's design drawings. | 1 | Item
2 | General Items: Material submittals, lightning proctection system, earthing system, fencing, safety equipment, remote monitoring, labeling, safety signage, as-built drawings, T&C, O&M manual, training of operators, and one year O&M as per Annex 3 and Annex 6. | 1 | Item
Total

## Batch 2 MSMEs BOQ
ACE Project - Lot 2 REEE Measures MSME Systems - General BoQ
ITEM | DESCRIPTION | Quantity | UNIT | Unit Price ($) | Total Price ($)
Shawaf Farms – Dairy & Processing Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). All installation works to be in line with ANNEXES 3 and 6 of this RFP.
1 | PV panels 600 Wp | 20 | pcs |  | 0
2 | Hybrid inverter 12 kW, three-phase | 1 | pcs |  | 0
3 | Lithium battery bank 17.5 kWh | 1 | pcs |  | 0
4 | PV mounting structure for the new PV panels | 1 | Ls |  | 0
5 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
6 | Earthing system | 1 | Ls |  | 0
7 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
8 | Documentation, O&M manual & training | 1 | Ls |  | 0
9 | O&M services | 1 | Year |  | 0
| Subtotal – Shawaf Farms – Dairy & Processing Facility |  |  |  | 0
Rayan’s Farm CO – Food Processing Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). All installation works to be in line with ANNEXES 3 and 6 of this RFP.
10 | PV panels 600 Wp | 35 | pcs |  | 0
11 | On-grid inverter(s) 50 kW, three-phase | 1 | pcs |  | 0
12 | PV mounting structure for the new PV panels | 1 | Ls |  | 0
13 | All necessiry DC and AC cables, control system, protective devices, and accessories | 1 | Ls |  | 0
14 | Earthing system | 1 | Ls |  | 0
15 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
16 | Documentation, O&M manual, & training | 1 | Ls |  | 0
17 | O&M services | 1 | Year |  | 0
| Subtotal – Rayan’s Farm CO – Food Processing Facility |  |  |  | 0
Manara Dairy – Dairy Processing Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). All installation works to be in line with ANNEXES 3 and 6 of this RFP.
18 | PV panels 600 Wp | 18 | pcs |  | 0
19 | Hybrid inverter(s) 50 kW, three-phase HV | 1 | pcs |  | 0
21 | Lithium battery bank 50 kWh | 1 | pcs |  | 0
22 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
23 | Earthing system | 1 | Ls |  | 0
24 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
25 | Documentation, O&M manual & training | 1 | Ls |  | 0
26 | O&M services | 1 | Year |  | 0
| Subtotal – Manara Dairy – Dairy Processing Facility |  |  |  | 0
Abdelkhalek Mill – Grain Milling Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). All installation works to be in line with ANNEXES 3 and 6 of this RFP.
27 | PV panels 600 Wp | 9 | pcs |  | 0
28 | Inverter 8 kW, three-phase as per Annex 3 | 1 | pcs |  | 0
29 | PV mounting structure | 1 | Ls |  | 0
30 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
31 | Earthing system | 1 | Ls |  | 0
32 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
33 | Documentation, O&M manual, & training | 1 | Ls |  | 0
34 | O&M services | 1 | Year |  | 0
| Subtotal – Abdelkhalek Mill – Grain Milling Facility |  |  |  | 0
SunCode – Agro-Food Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). All installation works to be in line with ANNEXES 3 and 6 of this RFP.
35 | PV panels 600 Wp | 14 | pcs |  | 0
36 | Hybrid inverter 8 kW, single phase | 1 | pcs |  | 0
37 | Lithium battery bank 12.5 kWh | 1 | pcs |  | 0
38 | PV mounting structure | 1 | Ls |  | 0
39 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
40 | Earthing system | 1 | Ls |  | 0
41 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
42 | Documentation, O&M manual & training | 1 | Ls |  | 0
43 | O&M services | 1 | Year |  | 0
| Subtotal – SunCode – Agro-Food Facility |  |  |  | 0
Wadi Al Horr – Agro-Food Enterprise
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). All installation works to be in line with ANNEXES 3 and 6 of this RFP.
44 | PV panels 600 Wp | 20 | pcs |  | 0
45 | Hybrid inverter 12 kW, single phase | 1 | pcs |  | 0
46 | Lithium battery 12.5 kWh | 1 | pcs |  | 0
47 | PV mounting structure | 1 | Ls |  | 0
48 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
49 | Earthing system | 1 | Ls |  | 0
50 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
51 | Documentation, O&M manual & training | 1 | Ls |  | 0
52 | O&M services | 1 | Year |  | 0
| Subtotal – Wadi Al Horr – Agro-Food Enterprise |  |  |  | 0
Berad Saraain – Cold Storage Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). All installation works to be in line with ANNEXES 3 and 6 of this RFP.
53 | PV panels 600 Wp | 20 | pcs |  | 0
54 | On-grid inverter 12 kW, three-phase | 1 | pcs |  | 0
55 | PV mounting structure | 1 | Ls |  | 0
56 | All necessiry DC and AC cables, control system, protective devices, and accessories | 1 | Ls |  | 0
57 | Earthing system | 1 | Ls |  | 0
58 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
59 | Documentation, O&M manual, & training | 1 | Ls |  | 0
60 | O&M services | 1 | Year |  | 0
| Subtotal – Berad Saraain – Cold Storage Facility |  |  |  | 0
Harba Trading – Cold Storage Facility
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). All installation works to be in line with ANNEXES 3 and 6 of this RFP.
61 | PV panels 600 Wp | 20 | pcs |  | 0
62 | Hybrid inverter 12 kW, three-phase | 1 | pcs |  | 0
63 | Lithium battery bank 30 kWh | 1 | pcs |  | 0
64 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
65 | Earthing system | 1 | Ls |  | 0
66 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
67 | Documentation, O&M manual & training | 1 | Ls |  | 0
68 | O&M services | 1 | Year |  | 0
| Subtotal – Harba Trading – Cold Storage Facility |  |  |  | 0
El Rida Beekeeping
Scope: Supply, installation, testing, commissioning, as-built drawings, O&M manual, training, and 1-year O&M (preventive & corrective maintenance). All installation works to be in line with ANNEXES 3 and 6 of this RFP.
69 | PV panels 600 Wp | 20 | pcs |  | 0
70 | Hybrid inverter 12 kW, three-phase | 1 | pcs |  | 0
71 | Lithium battery bank 15 kWh | 1 | pcs |  | 0
72 | PV mounting structure | 1 | Ls |  | 0
72 | All necessiry DC and AC cables, protective devices, and accessories | 1 | Ls |  | 0
73 | Earthing system | 1 | Ls |  | 0
74 | Fire extinguisher, safety signage, and labelling | 1 | Ls |  | 0
75 | Documentation, O&M manual & training | 1 | Ls |  | 0
76 | O&M services | 1 | Year |  | 0
| Subtotal – El Rida Beekeeping |  |  |  | 0
|  |  |  | Grand Total | 0